## Submittal Test Template
Specification Section | Specification Section Title | Submittal Description
00 72 13 | General Conditions | Master Project Schedule
Submittal Submission Schedule
01 74 13 | Project Requirements | Coordination Drawings
Mockup Shop Drawings
Mockup Review Comments
01 35 33 | Infection Control Risk Assessment (ICRA) Project Requirements | Infection Control Risk Assessment
01 77 19 | Contract Closeout | Substantial Completion Request and Punchlist
Final Completion Request
01 78 23 | Operations and Maintenance Manuals | 50% Construction Submittal
Final Operations and Maintenance Manuals
Owner Training Schedule
01 78 39 | As-Built Documents | Final As-Built Documents Submittal
01 91 13 | MEPT Commissioning | MEPT Commissioning Plan / Schedule
01 91 23 | Building Envelope (BE) Commissioning | BE Commissioning Plan / Schedule
02 41 13 | Selective Site Demolition | Project Record Documents
03 10 00 | Concrete Formwork | Product Data
Testing for Formwork Removal
03 20 00 | Concrete Reinforcement | Placing Drawings
Manufacturer's Certifications
Splices
Field Bending
Mechanical Connections
03 30 00 | Cast-in-place Concrete | Concrete Materials
Product Data
Testing Qualifications
Finishing Shop Drawings
Slab-On-Grade Joint Layout
Construction Sequence
Repair Methods
Certificates
Placement Notifications
Adjustments
Cold Weather Procedure
03 30 01 | Cast-in-place Concrete For Site Work | Manufacturer's Data
Shop Drawings
Certificates
04 20 00 | Unit Masonry | Product Data
Project Information
Samples
Manufacturer's Certificate
Manufacturer's Qualifications
Installer Qualifications
05 12 23 | Structural Steel | Shop Drawings
Field Survey
Product Data
05 21 00 | Steel Joists | Shop Drawings
Welder's Certificates
05 31 00 | Steel Deck | Shop Drawings
05 40 00 | Cold-Formed Steel Framing (CFSF) System | Shop Drawings
Product Data
05 50 00 | Metal Fabrications | Product Data
Shop Drawings
05 50 01 | Metal Fabrications For Sitework | Welder Certificates
Shop Drawings
05 51 00 | Metal Stairs | Shop Drawings
Product Data
Welder Certificates
05 52 13 | Pipe and Tube Railings | Shop Drawings
05 53 05 | Gratings and Floor Plates | Shop Drawings
06 10 00 | Rough Carpentry | Manufacturer 's Certificate
06 16 56 | Air and Water Resistive Sheathing Board | Product Data
Shop Drawings
06 41 00 | Architectural Casework | Shop Drawings
Product Data
07 13 00 | Sheet Waterproofing | Product Data
Shop Drawings
Product Data
Manufacturer's Installation Instructions
Warranty
07 21 00 | Thermal Insulation | Product Data
07 21 19 | Foamed in Place Insulation | Product Data
07 25 00 | Weather Barrier | Product Data
07 27 26.02 | Fluid-Applied Membrane Air Barriers, Vapor Permeable | Product Data
Shop Drawings
07 42 13 | Metal Wall Panels | Shop Drawings
Samples
Manufacturer's Qualification Statement
Installer's Qualification Statement
07 48 00 | Thermoset Resin Z-Girts | Product Data
Shop Drawings
07 54 19 | PVC Thermoplastic Single-Ply Roofing | Product Data
Shop Drawings
Manufacturer's Certifications
Applicator's Certification
Warranty
07 62 00 | Sheet Metal Flashing and Trim | Shop Drawings
07 71 00 | Roof Specialties | Product Data
Shop Drawings
Samples
07 72 00 | Roof Accessories | Product Data
Shop Drawings
Warranty
07 84 00 | Firestopping | Product Data
Installer Qualifications
07 92 00 | Joint Sealants | Product Data
Color Cards for Selection
08 11 13 | Hollow Metal Doors and Frames | Product Data
Shop Drawings
08 14 16 | Commercial Flush Wood Doors | Product Data
Shop Drawings
Samples
Warranty
08 31 00 | Access Doors and Panels | Product Data
Shop Drawings
08 33 23 | Overhead Coiling Doors | Product Data
Shop Drawings
Maintenance Data
08 42 29.23 | Sliding Automatic Entrances | Product Data
Shop Drawings
Maintenance Data
Warranty
08 44 13 | Glazed Aluminum Curtain Walls | Product Data
Shop Drawings
Samples
Design Data
Test Results
Field Quality Control Test Submittal
Warranty
08 80 00 | Glazing | Samples
Warranty
09 21 13 | Gypsum Board Assemblies | Product Data
09 30 00 | Tiling | Product Data
Shop Drawings
Samples
Maintenance Data
09 51 00 | Acoustical Ceilings | Product Data
Shop Drawings
Maintenance Data
09 65 00 | Resilient Flooring | Product Data
Shop Drawings
Maintenance Data
Samples
09 67 00 | Resinous Flooring | Product Data
Samples
Maintenance Data
09 67 66 | Waterproof Flooring (WPF) | Product Data
Shop Drawings
Samples
Warranty
09 68 13 | Tile Carpeting | Product Data
Samples
Maintenance Data
09 90 00 | Painting and Coating | Samples
10 21 13.19 | Plastic Toilet Compartments | Shop Drawings
10 26 01 | Wall and Corner Protection | Shop Drawings
Product Data
10 28 00 | Toilet Accessories | Product Data
10 44 00 | Fire Protection and Safety Specialties | Product Data
Shop Drawings
10 51 00 | Lockers | Shop Drawings
10 73 20 | Hanger Rod Supported Canopies | Shop Drawings
11 13 16 | Loading Dock Seals | Shop Drawings
Product Data
Maintenance Data
11 13 19.13 | Loading Dock Levelers | Product Data
Shop Drawings
Product Data
11 70 00 | Healthcare Equipment | Product Data
Warranty
12 24 00 | Window Shades | Product Data
Samples
12 93 00 | Site Furnishings | Product Data
Shop Drawings
Samples
Warranty
21 05 00 | Basic Fire Suppression Requirements | Coordination Drawings
Owner Training Agenda
21 05 29 | Fire Suppression Supports and Anchors | Shop Drawings
21 05 53 | Fire Suppression Identification | Shop Drawings
21 13 00 | Fire Protection Systems | Shop Drawings
Layout and Calculations
Product Data
22 05 00 | Basic Plumbing Requirements | Shop Drawings
22 05 13 | Motors | Shop Drawings
Product Data
Shaft Grounding Device
22 05 29 | Plumbing Supports and Anchors | Shop Drawings
22 05 53 | Plumbing Identification | Shop Drawings
22 05 92 | Plumbing Piping Insulation | Shop Drawings
22 09 00 | Instrumentation | Shop Drawings
22 10 00 | Plumbing Piping | Shop Drawings
22 10 30 | Plumbing Specialties | Shop Drawings
22 11 23 | Domestic Water Pumps | Shop Drawings
Performance Curves
22 14 29 | Sump Pumps | Shop Drawings
Performance Curves
Power/Control Wiring Diagrams
22 14 29.01 | Sump Pumps for Sitework | Shop Drawings
Product Data
Wiring Diagrams
22 30 00 | Plumbing Equipment | Shop Drawings
22 40 00 | Plumbing Fixtures | Product Data
22 60 00 | Medical Gas Systems | Installer Certificate
Shop Drawings
Manufacturer's Installation Instructions
Independent Testing Agency Reports
23 05 13 | Motors | Shop Drawings
Product Data
Shaft Grounding Device
23 05 25 | Steam and Condensate Valves For Sitework | Product Data
23 05 29 | HVAC Supports and Anchors | Shop Drawings
23 05 29.01 | Hangers and Supports For HVAC Piping and Equipment for Sitework | Product Data
23 05 48 | HVAC Vibration Isolation | Shop Drawings
23 05 48.01 | Vibration and Seismic Controls For HVAC Piping and Equipment For Sitework | Product Data
23 05 53 | HVAC Identification | Shop Drawings
23 05 53.01 | Identification for HVAC Piping and Equipment for Sitework | Product Data
Samples
23 07 00 | HVAC Insulation for Sitework | Product Data
23 07 13 | HVAC Identification | Shop Drawings
23 07016 | HVAC Equipment Insulation | Shop Drawings
23 07 19 | HVAC Piping Insulation | Shop Drawings
23 09 00 | Controls | Equipment Coordination
Shop Drawings
Training Manual
23 09 13 | Instrumentation | Shop Drawings
23 21 00 | Hydronic Piping | Shop Drawings
23 21 23 | HVAC Pumps | Shop Drawings
Performance Curves
23 22 00 | Steam and Steam Condensate Piping | Product Data
Welder Certificate
23 22 13 | Steam and Condensate Piping for Sitework | Product Data
Welder Certificate
23 22 18 | Steam and Steam Condensate Specialties | Product Data
Power/Control Wiring Diagrams
Manufacturer's Installation Instructions
Operation and Maintenance Data
23 31 00 | Ductwork | Shop Drawings
23 31 13 | Metal Ducts for Sitework | Product Data
23 33 00 | Ductwork Accessories | Shop Drawings
23 34 13 | Fans for Sitework | Shop Drawings
Product Data
Fan Curves
Manufacturer's Installation Instructions
Operation and Maintenance Data
23 34 23 | Power Ventilators | Shop Drawings
Fan Curves
Manufacturer's Installation Instructions
Power/Controls Wiring Diagram
23 36 00 | Air Terminal Units | Shop Drawings
Product Data
Manufacturer's Installation Instructions
23 37 00 | Air Inlets and Outlets | Product Data
Shop Drawings
Manufacturer's Installation Instructions
23 40 00 | Air Cleaning | Shop Drawings
23 51 00 | Breechings, Chimneys and Stacks | Shop Drawings
23 57 00 | Heat Exchangers | Shop Drawings
Manufacturer's Installation Instructions
Operation and Maintenance Data
23 73 13 | Indoor Modular Air Handling Units | Shop Drawings
Manufacturer's Installation Instructions
Operation and Maintenance Data
23 82 00 | Terminal Heat Transfer Units | Shop Drawings
Manufacturer's Installation Instructions
26 10 00 | Operation and Maintenance of Electrical Systems for Sitework | Operations and Maintenance Manuals
26 05 00 | Operation and Maintenance of Electrical Systems for Sitework | Coordination Drawings
26 05 13 | Wire and Cable | Shop Drawings
Manufacturer's Installation Instructions
Shop Drawings
26 05 19.33 | Utility Tracer Wire | Product Data
Closeout Submittal
26 05 26 | Grounding and Bonding | Shop Drawings
Field Test Reports
Ground Field Layout
26 05 26.01 | Grounding and Bonding for Electrical Systems for Sitework | Product Data
Test Results
26 05 35 | Surface Raceways | Product Data
26 05 43 | Underground Ducts and Raceways for Electrical Systems | Product Data
Testing Certifications
26 05 53 | Electrical Identification | Product Data
26 09 13 | Power Monitoring and Control System | Shop Drawings
Product Data
26 09 33 | Lighting Control Systems | Product Data
Control Wiring Diagrams
26 22 00 | Dry Type Transformers | Product Data
26 24 13 | Switchboards - Product Data | Product Data
Shop Drawings
26 24 22 | Integrated Power Centers | Product Data
26 27 26 | Wiring Devices | Product Data
26 27 26.02 | Outlet Boxes and Wiring Devices for Sitework | Product Data
26 28 13 | Fuses | Product Data
26 28 13.01 | Fuses for Sitework | Product Data
26 28 16 | Disconnect Switches | Product Data
26 28 16.01 | Enclosed Switches and Circuit Breakers for Sitework | Shop Drawings
26 29 13 | Enclosed Controllers for Sitework | Shop Drawings
26 29 23 | Variable Frequency Drives | Shop Drawings
Product Data
Manufacturer's Installation Instructions
Harmonic Distortion Analysis
26 32 13 | Packaged Engine Generator Systems | Product Data
Shop Drawings
EPA Certificate of Compliance
Manufacturer's Installation Instructions
26 36 00 | Transfer Switch | Shop Drawings
26 43 00 | Surge Protection Devices | Shop Drawings
Fuse Information
26 51 00 | Lighting | Product Data
Utility Rebate Form
26 51 00.01 | Vault Lighting | Product Data
26 52 00 | Emergency Lighting Equipment | Shop Drawings
Product Data
26 56 00 | Exterior Roadway Lighting | Product Data
Pole and Support Component Certificates
Qualification Data
Field Quality Control Test Reports
Operation and Maintenance Data
Warranty
27 05 00 | Basic Communication Systems Requirements | Coordination Drawings
Installer Certification
Shop Drawings
System Schedule
Product Data
Shop Drawings
27 05 28 | Interior Communication Pathways | Product Data
Manufacturer's Installation Instructions
27 05 53 | Identification and Administration | Shop Drawings
27 11 00 | Communication Equipment Rooms (CER) | Product Data
Manufacturer's Installation Instructions
27 13 00 | Backbone Cabling Requirements | Product Data
Manufacturer's Installation Instructions
27 15 00 | Horizontal Cabling Requirements | Product Data
Manufacturer's Installation Instructions
27 15 00.01 | Communications Horizontal Cabling for Sitework | Product Data
28 05 00 | Basic Electronic Safety and Security Systems Requirements | Coordination Drawings
28 05 03 | Through Penetration Firestopping | Shop Drawings
Systems Schedule
28 13 00 | Electronic Access Control | Product Data
System Drawings
28 23 00 | Video Surveillance | Shop Drawings
Product Data
System Drawings
28 31 00 | Fire Alarm and Detection Systems | Shop Drawings
Product Data
31 22 13 | Earthwork and Rough Grading | Testing Samples
31 23 00 | Foundation Excavating and Backfilling | Material Test Reports
31 23 16.16 | Structural Excavation for Minor Structures | Gradation for Backfill Material
31 23 16.29 | Over excavation and Backfill for Unsuitable Pipe Bedding Material | Rock Gradation
Product Data
31 25 00 | Erosion and Sediment Control | Product Data
Certification and Sampling
32 11 16.16 | Aggregate Subbase Courses - Rock Gradation | Rock Gradation
32 13 13 | Concrete Paving | Mix Design
Manufacturer's Certification
321313.1 | Concrete Paving for Sidewalks and Shared Use Paths | Mix Design
Detectable Warning
Testing Results for Closeout
32 17 23 | Pavement Markings | Compliance Certifications
32 90 00 | Landscape Materials | Source and Supplier
Sample(s)
Certification of Compliance
Planting Schedule
32 91 12.13 | Topsoil Placement and Grading | Source and Supplier
Sample(s)
32 92 19 | Seeding and Soil Supplements | Manufacturer's Certified Analysis of Fertilizer
Product Data
Planting Schedule
32 92 23 | Sodding | Grower's Certification
Watering Schedule
33 05 23.13 | Horizontal Directional Drilling for Utilities | Installation Instructions
Record of Potholed Utilities
Drilling Log
33 11 22 | Water and Chilled Water Mains | Product Data
Closeout Submittals
33 31 00 | Sanitary Sewerage | Product Data
Shop Drawings
Installation Instructions
Closeout Submittals
33 41 00 | Storm Utility Drainage Piping | Product Data
Shop Drawings
Certification
Installation Instructions
33 63 13 .01 | Pre-engineered Steam and Condensate Piping | Shop Drawings
Pipe Cleaning Procedure
Closeout Submittals