| ABOVE CEILING WORK PERMIT RATED BARRIER THIS PERMIT SHALL BE POSTED |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DATE ISSUED |  |  | ISSUED TO |  |  |
| START DATE |  |  | COMPANY NAME |  |  |
| ESTIMATED COMPLETION |  |  | WILL A RATED BARRIER BE PENETRATED |  |  |
|  |  |  | ☐ YES |  | ☐ NO |
| LIFE SAFETY PLANS HAVE BEEN REVIEWED AND ARE ATTACHED |  |  | IF YES – WHAT TYPE OF FIRE STOP SYSTEM WILL BE USED |  |  |
| ☐ YES | ☐ NO |  |  |  |  |
| WORK REQUESTED BY DEPARTMENT |  |  | NAME OF REQUESTER |  |  |
| PERMIT ISSUED BY DEPARTMENT |  |  | NAME OF REQUESTER |  |  |
| LOCATION WORK TO BE PERFORMED |  |  |  |  |  |
| BUILDING |  | FLOOR |  | ROOM # |  |
| DESCRIPTION OF WORK |  |  |  |  |  |
| PERMIT PROCEDURES |  |  |  |  |  |
| Step 1 - Install infection control barriers as needed per UIHC Infection Control Policy (ICRA) Step 2 - Perform an assessment above ceiling and note any pre-existing deficiencies. Items may include: - Wires, conduit, duct work, etc. on or being support by fire sprinkler piping - Open penetrations in rated barrier (view wall rating stencil to determine barrier type) - Sleeves and conduit stub-outs in corridor walls not smoke sealed (inside of sleeve or conduit) - Open junction boxes - Temporary wiring (extension cords) - Broken, damaged or stained ceiling tiles Step 3 - Report all pre-existing deficiencies to UIHC Life Safety Manager via email or online submittal process Step 4 - Conduct work above ceiling per work request |  |  | SUBMIT FINDINGS VIA EMAIL TO: andrew-kuse@uiowa.edu VIA ONLINE SUBMITTAL: |  |  |
| PERMIT Approved by |  |  | Date of approval |  |  |
| When work is complete return this permits to UIHC Life Safety Manager (Andy Kuse – GH C116 – 200 Hawkins Drive – Iowa City, IA) |  |  |  |  |  |

University of Iowa Hospitals and Clinics

ABOVE CEILING PERMIT

This permit shall be posted during above ceiling work activities.